| **Date** | **Site** | **Gender** | **Age Group** | **Activity** | **Probable Main****Agent** | **Voltage** |
| --- | --- | --- | --- | --- | --- | --- |
| 22nd Sep2014 | Indoor Electrical Sub-Station | Male | Adult Over 50 (54) | Work | Switchgear | 38 kV |
| 25th August 2014 | House | Male | Adult Over 50 | Non-Work | Heater | LV |
| 18-Jul-2013 | Farm Outhouse | Male | 14 | Workplace | Power Hose & Cable Reel | LV |
| 16-Jan-2013 | Electrical Sub-Station | Male | Adult < 25 | Work | 38 kV Bus-Bar | 38 kV |
| 2012 | House | Male |  | Non-Work | Electric-Heater | LV |
| 24-Sep-2012 | Countryside | Male | Adult Over 50 (58) | Work | Overhead Line | LV |
| 13th March 2012 | Construction Site | Male | Adult 25-50 | Work | Overhead Line | 20 kV |
| 10- Dec-11 | Household | Male | Adult 25-50 |  | Electric Shower | LV |
| 24-Sep-11 | Workshop | Male | Adult Over 50 | Work | Cable Lead-Compressor  | LV |
| 15-Jul-2010 | Mobile home park | Male | Adult 25-50 | Non-Work | Mobile home became live | LV |
| 29-May-10 | Domestic Garage | Male |  | Non-Work | Possibly self inflicted | LV |
| 19-May-10 | Hedgerow | Male | Adult 25-50 | Work | Pole saw made contact with overhead line | 20kV |
| 01-Feb-10 | Indoor 10kV substation | Male | Adult 25-50 | Non-Work | Energised Cable and hack saw. | 10kV |
| 09-Oct-09 | Landscaped Garden | Male | Adult 25-50 | Work | Flexible Cable | LV |
| 25-Jul-08 | Construction Site/Farm | Male | Adult 25-50 | Work | Truck Mounted Crane | 10 kV |
| 09-Sep-07 | Private housing/Apartment development | Male | Under 12 | Non Work | Vandalised Lamp-post | LV |
| 23-Apr-07 | Construction | Male | Adult < 25 | Work | Floating Concrete | 10 kV |
| Dec-05 | Construction | Male | Adult 25-50 | Work | Concrete Conveyor | 10kV Line |
| Oct-05 | Construction | Male | Adult 25-50 | Work | Metal Stay | 20 kV |
| Oct-05 | Construction | Male | Adult < 25 | Work | Installing Concrete Slab | 10kV  |
| 2005 | Industrial | Male | Adult 25-50 | Work | Welder in Hospital | LV |
| 2005 | Household | Male | Adult 25-50 | Non Work | Washing Machine | LV |
| Nov-04 | Farm | Male | Adult 25-50 | Non Work | Lighting Tower | 20kV Line |
| Nov-04 | Farm | Male | Adult 25-50 | Non Work | Lighting Tower | 20 kV |
| Nov-04 | Construction | Male | Adult 25-50 | Work | Guttering | 10 kV |
| Jun-04 | Farm | Male | Adult < 25 | Work | Silage Harvester | 10kV Line |
| 13-Jan-04 | Yard | Male | Adult 25-50 | Work | Truck Mounted Crane | 20kV Line |
| 2003 | Industrial | Male | Adult 25-50 | Work | Exploding Circuit Breaker | 10 kV |
| 2003 | Industrial | Male | Adult 25-50 | Work | Exploding Circuit Breaker | 10 kV |
| 2003 | Construction | Male | Adult < 25 | Work | Concrete Chute | 10 kV |
| 2002 | Industrial | Male | Adult 25-50 | Work | Crane moving Welder | 10 kV |
| 2002 | Countryside | Male | Adult 25-50 | Work | Cutting Timber | 20 kV |
| 2002 | Garden | Male | Adult 25-50 | Non Work | Secateurs cut cable | LV |
| 2002 | Utility Substation | Male | Under 12 | Non Work | Child Climbed into Sub | 10 kV |
| Nov-01 | Construction | Male | Adult 25-50 | Work | Tipping Tarmacadam | 10 kV |
| Oct-01 | Farm | Male | Adult < 25 | Work | Live Parts in a Poultry shed | LV |
| Oct-01 | Construction | Male | Adult 25-50 | Work | Truck Mounted Crane | 38 kV |
| Jun-01 | Industrial | Male | Adult 25-50 | Work | Plumbing in Kitchen | LV |
| Dec-00 | Construction | Male | Adult < 25 | Work | Lighting POD | LV |
| Dec-00 | Construction | Male | Adult 25-50 | Work | Lighting POD | LV |
| Dec-00 | Farmland | Female | Adult Over 50 | Non Work | Fallen ESB Line | 10 kV |
| Nov-00 | ESB Network | Male | Adult 25-50 | Work | ESB Technician Working | 10 kV |
| Sep-00 | Household | Male | Adult < 25 | Non Work | Changing Bulb | LV |
| Aug-00 | Household | Male | Under 12 | Non Work | Toddler-Nail in Socket | LV |
| Jun-00 | Milking Parlour | Male | Adult 25-50 | Work | Milking Machine Became Live | LV |
| Sep-00 | Industrial | Male | Adult 25-50 | Work | Electrician Killed by Metalwork | LV |
| Jan-00 | Basement of Apartment block | Male | Adult < 25 | Work | Delivery Person Copper Pipes on Broken Light Switch | LV |
| 14-Dec-99 | Utility substation | Male | Adult < 25 | Non Work | Man Gained Access to Substation | 110kV |
| 07-Sep-99 | Construction | Male | Adult 25-50 | Work | Concrete Conveyor | 10 kV |
| 03-Aug-99 | Industrial | Male | Adult 25-50 | Work | Elec. Craftsman working on 3 phase panel | LV |
| 19-Nov-98 | Industrial | Male | Adult 25-50 | Work | Elec. Craftsman working on 3 phase Motor | LV |
| 20-Oct-98 | Railway | Male | Adult 25-50 | Non Work | Man on Dart Powerline | 1500 VDC |
| 01-Oct-98 | Household | Male | Adult 25-50 | Non Work | Working in Radio Hut | LV |
| 04-Jun-98 | Household | Male | Teenager | Non work | Having a shower | LV |
| 01-May-98 | Farm | Male | Teenager | Work | Mains on Electric Fence | LV |
| 21-Aug-97 | Farm | Male | Adult < 25 | Work | Power Washer in Piggery | LV |
| 04-Jul-97 | Farm | Male | Adult < 25 | Work | Welding in a Shed | LV |
| 01-Mar-97 | Construction | Male | Adult < 25 | Work  | Roofer Hit Line | 10 kV |
| 18-Nov-96 | Halting site | Male | Adult Over 50 | Work | Truck Mounted Crane | 10 kV |
| 16-Oct-96 | Construction | Male | Adult 25-50 | Work | Tipper Truck Driver stepping off truck | 10kV  |
| 06-Jun-96 | Construction | Male | Adult 25-50 | Work | Concrete Conveyor | 10 kV |
| 23-Mar-96 | Industrial | Male | Teenager | Work  | Teenager in Contact with Wire slung on 10 kV line | 10kV |
| 23-Jan-96 | Household | Female | Adult < 25 | Non Work | Woman Having Shower | LV |
| 1995 | Household | Male | Adult Over 50 | Non Work | Contact with Bare Conductors in Socket | LV |
| 15-Aug-95 | Sports field | Male | Adult 25-50 | Work | Portable Scaffold on Sports Pitch | 10 kV |
| 12-Apr-95 | Countryside | Male | Adult < 25 | Work | Truck Tipping | 10 kV |